## Mass spectrometry parameter
Method of Q Exactive
FULL MS / DD-MS² (TOPN)
General
Runtime 0 to 65 min
Polarity Positive
In-source CID 0.0 eV
Default charge state 2
Inclusion ―
Exclusion ―
Tags ―
Full MS
Microscans 1
Resolution 70,000
AGC target 1e6
Maximum IT 50 ms
Number of scan ranges 1
Scan range 350 to 1600 m/z
Spectrum data type Profile
dd-MS² / dd-SIM
Microscans 1
Resolution 35,000
AGC target 2e5
Maximum IT 100 ms
Loop count 20
MSX count 1
TopN 20
Isolation window 2.0 m/z
Isolation offset 0.0 m/z
Scan range 200 to 2000 m/z
Fixed first mass ―
NCE / stepped NCE 29
Spectrum data type Centroid
dd Settings
Underfill ratio 1.0 %
Intensity threshold 2.0e4
Apex trigger ―
Charge exclusion 1, 6 - 8, >8
Peptide match Preferred
Exclude isotopes on
Dynamic exclusion 18.0 s
If idle .. do not pick others

## LC parameter
0.000 Wait LoadingPump.Ready and NC_Pump.Ready and ColumnOven.Ready and Sampler.Ready and PumpModule.Ready
;Chromeleon sets this property to signal to Xcalibur that it is ready to start a run.
ReadyToRun = 1
;Xcalibur sets this property to start the run or injection.
Wait StartRun
LoadingPump.Flow = 4.000 [µl/min]
LoadingPump.%B = 0.0 [%]
%C = 0.0 [%]
LoadingPump.Curve = 5
NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 3.0 [%]
NC_Pump.Curve = 5
Wait LoadingPump.Ready and NC_Pump.Ready and ColumnOven.Ready and Sampler.Ready and PumpModule.Ready
Inject
LoadingPump_Pressure.AcqOn
NC_Pump_Pressure.AcqOn
;Chromeleon sets this property to signal the injection to Xcalibur.
InjectResponse = 1
;Depending on your system configuration it might be necessary to manually insert
;a "Relay" command below in order to send the start signal to the MS.
;Typical syntaxes:
;Pump_Relay_1.Closed Duration = 2.00
;UM3PUMP_Relay1.On Duration = 2.00
LoadingPump.Flow = 4.000 [µl/min]
LoadingPump.%B = 0.0 [%]
%C = 0.0 [%]
LoadingPump.Curve = 5
NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 3.0 [%]
NC_Pump.Curve = 5
5.000 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 3.0 [%]
NC_Pump.Curve = 5
6.000 ValveRight = 10_1
NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 6.5 [%]
NC_Pump.Curve = 5
37.500 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 18.0 [%]
NC_Pump.Curve = 5
46.000 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 25.0 [%]
NC_Pump.Curve = 5
48.000 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 30.0 [%]
NC_Pump.Curve = 5
49.000 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 80.0 [%]
NC_Pump.Curve = 5
54.000 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 80.0 [%]
NC_Pump.Curve = 5
54.500 NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 3.0 [%]
NC_Pump.Curve = 5
60.000 ValveRight = 1_2
65.000 LoadingPump.Flow = 4.000 [µl/min]
LoadingPump.%B = 0.0 [%]
%C = 0.0 [%]
LoadingPump.Curve = 5
NC_Pump.Flow = 0.300 [µl/min]
NC_Pump.%B = 3.0 [%]
NC_Pump.Curve = 5
InjectResponse = 0
LoadingPump_Pressure.AcqOff
NC_Pump_Pressure.AcqOff
End

## MS qualitative parameter
Created with Discoverer version: 1.4.0.288
================================================================================
Number of filtered/unfiltered result items:
- 4668/4722 protein group(s)
- 22526/80571 merged protein(s)
- 25660/383585 peptide(s)
- 41770/777335 PSM(s)
- 533347/533347 search input(s)
================================================================================
Peptide Grouping Options
- Show peptide groups: False
- Group peptides by: Mass and Sequence
Protein Grouping Options
- Enable protein grouping: True
- Consider leucine and isoleucine as equal: True
- Consider only PSMs with confidence at least: Medium
- Consider only PSMs with delta Cn better than: 0.15
- Apply strict maximum parsimony principle: True
No filters applied for data reduction
Result filters:
Peptide Confidence (Minimum Confidence: High)
================================================================================
Summary of file G:\2018service\161166-01\16-1166.msf
Workflow created with Discoverer version: 1.4.0.288 (DBVersion:79)
================================================================================
Search name: 16-1166
Search description: -
Search date: 03/15/2018 17:06:02
================================================================================
The pipeline tree:
------------------
¦-(0) Spectrum Files
¦-(3) Spectrum Selector
¦-(6) Sequest HT
¦-(5) Percolator
¦-(7) Reporter Ions Quantifier
------------------------------------------------------------------------------
Processing node 0: Spectrum Files
------------------------------------------------------------------------------
Input Data:
-----------------------------
File Name(s):
G:\2018service\161166-01\161166-01_1.raw
G:\2018service\161166-01\161166-01_10.raw
G:\2018service\161166-01\161166-01_11.raw
G:\2018service\161166-01\161166-01_12.raw
G:\2018service\161166-01\161166-01_13.raw
G:\2018service\161166-01\161166-01_14.raw
G:\2018service\161166-01\161166-01_15.raw
G:\2018service\161166-01\161166-01_16.raw
G:\2018service\161166-01\161166-01_17.raw
G:\2018service\161166-01\161166-01_18.raw
G:\2018service\161166-01\161166-01_19.raw
G:\2018service\161166-01\161166-01_2.raw
G:\2018service\161166-01\161166-01_20.raw
G:\2018service\161166-01\161166-01_3.raw
G:\2018service\161166-01\161166-01_4.raw
G:\2018service\161166-01\161166-01_5.raw
G:\2018service\161166-01\161166-01_6.raw
G:\2018service\161166-01\161166-01_7.raw
G:\2018service\161166-01\161166-01_8.raw
G:\2018service\161166-01\161166-01_9.raw
------------------------------------------------------------------------------
Processing node 3: Spectrum Selector
------------------------------------------------------------------------------
1. General Settings:
-----------------------------
Precursor Selection: Use MS1 Precursor
Use New Precursor Reevaluation: True
2. Spectrum Properties Filter:
-----------------------------
Lower RT Limit: 0
Upper RT Limit: 0
First Scan: 0
Last Scan: 0
Lowest Charge State: 0
Highest Charge State: 0
Min. Precursor Mass: 300 Da
Max. Precursor Mass: 5000 Da
Total Intensity Threshold: 0
Minimum Peak Count: 6
3. Scan Event Filters:
-----------------------------
MS Order: Is MS2
Min. Collision Energy: 0
Max. Collision Energy: 1000
Scan Type: Is Full
4. Peak Filters:
-----------------------------
S/N Threshold (FT-only): 1.5
5. Replacements for Unrecognized Properties:
-----------------------------
Unrecognized Charge Replacements: Automatic
Unrecognized Mass Analyzer Replacements: ITMS
Unrecognized MS Order Replacements: MS2
Unrecognized Activation Type Replacements: CID
Unrecognized Polarity Replacements: +
6. Just for Testing:
-----------------------------
Precursor Clipping Range Before: 2.5 Da
Precursor Clipping Range After: 5.5 Da
------------------------------------------------------------------------------
Processing node 6: Sequest HT
------------------------------------------------------------------------------
1. Input Data:
-----------------------------
Protein Database: human_161166_DeDup_Total_81268.fasta
Enzyme Name: Trypsin (Full)
Max. Missed Cleavage Sites: 2
Min. Peptide Length: 6
Max. Peptide Length: 144
2. Scoring Options:
-----------------------------
Max. Delta Cn: 0.05
Max. Number of Peptides Reported: 10
3. Tolerances:
-----------------------------
Precursor Mass Tolerance: 10 ppm
Fragment Mass Tolerance: 0.02 Da
Use Average Precursor Mass: False
Use Average Fragment Mass: False
4. Spectrum Matching:
-----------------------------
Use Neutral Loss a Ions: True
Use Neutral Loss b Ions: True
Use Neutral Loss y Ions: True
Use Flanking Ions: True
Weight of a Ions: 0
Weight of b Ions: 1
Weight of c Ions: 0
Weight of x Ions: 0
Weight of y Ions: 1
Weight of z Ions: 0
5. Dynamic Modifications:
-----------------------------
Max. Equal Modifications Per Peptide: 4
Max. Dynamic Modifications Per Peptide: 4
1. Dynamic Modification: Oxidation / +15.995 Da (M)
2. Dynamic Modification: Phospho / +79.966 Da (S, T, Y)
6. Static Modifications:
-----------------------------
Peptide N-Terminus: TMT6plex / +229.163 Da (Any N-Terminus)
1. Static Modification: TMT6plex / +229.163 Da (K)
2. Static Modification: Carbamidomethyl / +57.021 Da (C)
------------------------------------------------------------------------------
Processing node 5: Percolator
------------------------------------------------------------------------------
1. Input Data:
-----------------------------
Maximum Delta Cn: 0.05
2. Decoy Database Search:
-----------------------------
Target FDR (Strict): 0.01
Target FDR (Relaxed): 0.05
Validation based on: q-Value

## MS quantitative parameter
================================================================================
Common/Merged Quantification Method:
================================================================================
General:
---------------------------------------------------------------
Treat Quan Results as Replicates: False
Ratio Calculation:
---------------------------------------------------------------
Show the Raw Quan Values = True
Minimum Quan Value Threshold: = 10
Replace Missing Quan Values With Minimum Intensity = True
Use Single-Peak Quan Channels = False
Apply Quan Value Corrections = False
Reject All Quan Values If Not All Quan Channels Are Present = False
Fold Change Threshold for Up-/Down-Regulation: = 2
Maximum Allowed Fold Change: = 100000
Use Ratios Above Maximum Allowed Fold Change for Quantification = True
Percent Co-Isolation Excluding Peptides from Quantification: = 100
Protein Quantification:
---------------------------------------------------------------
Use Only Unique Peptides
Experimental Bias:
---------------------------------------------------------------
Normalize On Protein Median
- Minimum Protein Count: = 20
================================================================================
Search name: 16-1166
Search description: -
Search date: 03/15/2018 17:06:02
================================================================================
------------------------------------------------------------------------------
Processing node 7: Reporter Ions Quantifier
------------------------------------------------------------------------------
1. Quantification Method:
-----------------------------
Quantification Method: TMT10-Template (Custom)
2. Peak Integration:
-----------------------------
Integration Tolerance: 20 ppm
Integration Method: Most Confident Centroid
3. Scan Event Filters:
-----------------------------
Mass Analyzer: FTMS
MS Order: MS2
Activation Type: HCD
Min. Collision Energy: 0
Max. Collision Energy: 1000
------------------------------------------------------------------------------
Quantification Method: TMT10-Template
Method Description: Method for 10-plex Tandem Mass Tag® of Proteome Sciences plc
------------------------------------------------------------------------------
Quan Channels:
---------------------------------------------------------------
Residue Modification:: TMT6plex / +229.163 Da (K)
N-Terminal Modification:: TMT6plex / +229.163 Da (Any N-Terminus)
127_C: monoisotopic m/z = 127.13108 Da, average m/z = 127.21140 Da
131: monoisotopic m/z = 131.13818 Da, average m/z = 131.18340 Da
Purity Correction Factors in [%]:
Ratio Reporting:
127_C/(127_C+131)
131/(127_C+131)
---------------------------------------------------------------
==> Minimum Quan Value Detected = 769.0
==> Minimum Quan Value Used = 769.0
Experimental Bias:
---------------------------------------------------------------
Normalize On Protein Median
- Minimum Protein Count: = 20
==> Resulting Normalization Values:
127_C/(127_C+131): 0.537
131/(127_C+131): 0.462
---------------------------------------------------------------